SRP AirOutshield Inc;

SRP AirOutshield™ UV

Email: info@SRPAirOut.com

URL: www.srpairoutshield.com

SPEC NOTE: This is a manufacturer's guide specification intended to assist the design professional in preparing a Project specification. It must be edited to suit the specific Project requirements, local codes, and coordination with other specification sections. Bracketed text [ ] indicates a selection or an instruction for the specifier. Delete all guide notes and unused optional text before issuing the final Project specification.

This section specifies SRP AirOutshield™ UV, a UV-resistant, vapour permeable, water-resistive or air barrier membrane for open joint rain screen wall systems. This Product is specifically designed for applications where the membrane will be visible through open joints in the primary cladding system and requires long-term UV resistance. This Product is not recommended for applications where more than 40% of the Product will be exposed to UV, where joints are greater than 50mm in width, or for use in roofing applications.

This specification was developed with the assumption that it will be used with a CCDC standard Contract, as amended by any supplementary instructions. As a result, in keeping with CCDC standard definitions, some words have been capitalized. Please change defined terms and capitalization if this Specification will be used with another type of Contract.

SRP Air Outshield Inc. does not practice architecture or engineering. Therefore, the design responsibility remains with the architect, engineer, or Consultant. We hope the information given here will be of assistance. It is based upon data considered to be true and accurate and is offered solely for the user's consideration, investigation, and verification. Nothing contained herein is representative of a warranty or guarantee for which SRP Air Outshield Inc. can be held legally responsible. SRP Air Outshield Inc. does not assume any responsibility for any misinterpretation or assumptions the reader may formulate.

Revision date: July 2025

GENERAL

GENERAL INSTRUCTIONS

Read and conform to: The general provisions of the Contract, including General and Supplementary Conditions; and the requirements of Division 01 Specifications and any additional documents referred to in this Section.

Contractor is solely responsible for dividing The Work among Subcontractors and Suppliers. Consultant and Owner assume no responsibility to act as arbiters or to establish Subcontract limits between Sections or Divisions of The Work. Any references to related work items contained in this Section are provided for convenience only.

SUMMARY

SPEC NOTE: SRP AirOutshield™ UV may function as either a sheathing membrane or an air barrier depending on installation method. When installed with untaped seams, it will act as a vapor-permeable sheathing membrane to shed liquid water while allowing wall assemblies to dry. When all joints, seams, and penetrations are sealed in accordance with the manufacturer’s instructions, it also functions as a continuous air barrier to control air leakage. Select the appropriate designation below (i.e. sheathing membrane or air barrier) based on the project’s enclosure strategy and coordinate detailing accordingly.

Provide labour, materials, Products, equipment, and services to complete the UV-resistant vapour permeable wall [sheathing] [air barrier] membrane work specified herein. This includes, but is not necessarily limited, to:

UV-resistant vapour permeable [sheathing] [air barrier] membrane.

Accessory tapes.

Fasteners.

Related Requirements: Specifications throughout all Divisions of the Project shall be read as a whole, and may be directly applicable to this Section. Related requirements provided below are for convenience purposes only:

Section 06 10 00 – Rough Carpentry: for blocking.

Section 06 16 00 – Sheathing: for exterior gypsum sheathing.

SPEC NOTE: List primary wall cladding system sections applicable to the project, e.g., Metal Wall Panels, Fibre Cement Siding. Delete those not used.

Section 07 XX XX – Metal Wall Panels

Section 07 XX XX – Fibre Cement Siding

Section 07 21 00 – Thermal Insulation: for wall insulation.

Section 07 60 00 – Flashing and Sheet Metal: for wall flashing components.

Section 08 XX XX – Openings: for windows and doors.

REFERENCES

Reference Standards: Unless otherwise indicated in this Section or the Building Code, the latest published editions of reference standards as of the Project's Bid Closing deadline apply.

ASTM International (ASTM)

ASTM E96: Standard Test Methods for Gravimetric Determination of Water Vapour Transmission Rate of Materials.

ASTM E2178: Standard Test Method for Determining Air Leakage Rate and Calculation of Air Permeance of Building Materials

Underwriters Laboratories of Canada (CAN/ULC)

CAN/ULC S102: Standard Method of Test for Surface Burning Characteristics of Building Materials.

Deutsches Institut für Normung (DIN)

DIN EN 13859-1: Flexible sheets for waterproofing - Definitions and characteristics of underlays - Part 1: Underlays for discontinuous roofing.

ADMINISTRATIVE REQUIREMENTS

Pre-installation Meetings: Schedule and hold a pre-installation meeting at the Project site before beginning work on this Section to coordinate activities with related Subcontractors.

Notification: Where Consultant attendance is required; minimum 72 hour notice is required.

Reporting: Record significant discussions, agreements, and disagreements, including required corrective measures and actions.

Distribution: Distribute minutes of the meeting to each party present and to other parties requiring information not more than 72 hours after meeting.

SPEC NOTE: Add other relevant trades if their work impacts the membrane.

Attendees: General Contractor, wall system Contractor, installer's foreman, [and representative of membrane manufacturer].

SUBMITTALS

Submittals, generally: in accordance with Section 01 33 00, Submittal Procedures.

Product Data: Submit manufacturer’s Product characteristics, catalogue cuts, installation instructions, limitations, and other relevant information for each material and Product used for UV-resistant vapour permeable wall [sheathing] [air barrier] membrane work specified in this Section.

Shop Drawings: Submit Shop Drawings illustrating the general layout of the membrane. As a minimum indicate following:

Include plans, elevations, sections and details as applicable.

Indicate relationship and integration of membrane with key wall elements, including:

Wall edges and corners.

Window and door openings.

Pipe, conduit, duct, and other wall penetrations.

Coordination with primary cladding system flashings.

Samples: Submit selection and verification samples for UV-resistant vapour permeable wall [sheathing] [air barrier] membrane work.

As a minimum submit samples of the following:

215 x 280 mm (8-1/2 x 11 inch) sample of the UV-resistant vapour permeable [sheathing] [air barrier] membrane.

150 mm (6 inch) long samples of each specified tape.

QUALITY ASSURANCE

Manufacturer Qualifications: Provide Products for work of this Section by manufacturer with at least 10 years’ experience manufacturing such materials.

Installer Qualifications: Engage an entity with sufficient experience installing, erecting, or assembling work similar in material, design, and extent to that shown on Drawings and Schedules, and whose work has resulted in construction with a track record of successful in-service performance.

SPEC NOTE: Consider adding specific experience requirements if necessary.

Installer shall have successfully completed at least [NUMBER] Projects of similar scope and complexity within the past [NUMBER] years.

Single Source Responsibility: Obtain primary materials for this Section from a single source by a single manufacturer, and secondary materials from sources recommended by manufacturers of primary materials.

First Installation Review: Construct a mock-up installation to verify selections made under submittals, demonstrate aesthetic effects, and to set quality standards for fabrication and installation.

SPEC NOTE: Specify size and location, e.g., approximately 4 ft x 4 ft (1.2m x 1.2m) at an inconspicuous area designated by Consultant, or on a separate panel. Incorporate typical wall conditions, including a window opening corner, a penetration, and an edge detail.

Location: [specify]. Incorporate typical wall conditions, including a window opening corner, a penetration, and an edge detail.

Purpose: To set benchmarks for installation and to judge subsequent work. Maintain such sample installations during construction in undisturbed condition.

Reviewed Sample Installations: May become part of completed work if undisturbed at time of Substantial Performance of The Work, provided they comply with requirements outlined in Contract Documents. Do not proceed with installation until mock-up is accepted by Consultant.

DELIVERY, STORAGE AND HANDLING

Product Requirements, generally: in accordance with Section 01 61 00, Common Product Requirements.

Deliver, store and handle UV-resistant vapour permeable wall [sheathing] [air barrier] membrane materials in accordance with manufacturer’s written instructions. Deliver materials to site in original factory packaging, labelled with manufacturer’s name and address.

Store rolls under cover, protected from direct sunlight, weather, and physical damage, on a clean, level surface, either flat or upright. Do not store materials in contact with substances harmful to membrane.

Replace defective or damaged materials with new.

FIELD CONDITIONS

Environmental Limitations: Do not Install membrane until substrates are dry, clean, and free of frost, and ambient and substrate temperatures are within manufacturer’s recommended range for installation.

UV Exposure Limit: Do not leave the UV-resistant vapour permeable [sheathing] [air barrier] membrane exposed to ultraviolet light for more than 120 Days. Install primary cladding system as soon as possible, and in no event later than 120 Days after installation of the membrane. Product is not recommended for applications where more than 40% of the Product will be exposed to UV or where joints are greater than 50mm in width.

PRODUCTS

MANUFACTURERS

Basis-of-Design: Materials specified in this Section are based on “SRP AirOutshield™ UV” by SRP AirOutshield Inc., www.SRPairoutshield.com, Toll-Free: (866) 533-0233.

SPEC NOTE: Use the following statement if substitutions are not permitted.

OPTION 1

[Substitution Limitations: No further substitutions are acceptable.]

Use following statement if substitutions are permitted subject to requirements of Division 01.

OPTION 2

[Substitution Limitations: Conforming to requirements of Section 01 25 00, Substitution Procedures and as follows:

Consultant will consider requests for substitution if received [10] Days before Bid Closing Deadline. Requests received after that time will be rejected. Consultant will consider requests for substitution when following conditions are satisfied:

Requests for substitution include a list of at least five similar Projects of equivalent size where Products have been installed for a minimum of five years.

Requested substitution does not require extensive revisions to the Contract Documents.

Requested substitution is consistent with the Contract Documents and will produce indicated results.

Requested substitution will not adversely affect construction schedule.

Requested substitution provides specified warranty.]

UV-RESISTANT VAPOUR PERMEABLE [sheathing] [air barrier] membrane

Product Description: Double layer, coated polyester, water and ultra violet light (UV) resistant, vapour permeable [sheathing] [air barrier] membrane for open joint rain screen wall systems.

Performance Characteristics:

Nominal Weight: 270 g/m² (8.0 oz/yd²).

Roll Size: 1.5 m wide x 50 m long (59” x 164’).

Colour: Black (top, coated) and Black (bottom, textured).

Performance Characteristics:

Water Vapour Transmission (WVT):

ASTM E96 – Procedure A (Desiccant): 1537 ng/Pa/s/m² (26.9 perms).

ASTM E96 – Procedure B (Water): 2555 ng/Pa/s/m² (44.7 perms).

Air Permeance (ASTM E2178): 0.0001 L/s·m² (0.00002 cfm/ft²) at 75 Pa.

UV Exposure Resistance (DIN EN 13859): 5,000 hours exposure with less than 5% reduction in tensile strength and water vapor transmission.

Flexibility at Low Temperatures (EN 1109): -50°C.

Fire Performance:

Flame Spread Rating (FSR) CAN/ULC S102: 10.

Smoke Developed Classification (SDC) CAN/ULC S102: 120.

Acceptable Product: “SRP AirOutshield™ UV” by SRP AirOutshield Inc.

AUXILIARY MATERIALS

Tapes: Manufacturer’s recommended UV-resistant tapes for sealing seams and penetrations as follows:

SRP 60 UV Seam Seal Tape (60mm x 25m / 2.4” x 81’).

SRP 100 UV Seam Seal Tape (100mm x 25m / 4” x 81’).

Fasteners: Corrosion-resistant steel or stainless steel fasteners with integral caps or separate washers and plates.

Nails: Minimum No. 12-gauge (2.77 mm) shank diameter, 3/8-inch (9.5 mm) minimum head diameter.

Screws: Minimum No. 14-gauge (2.11 mm) shank diameter.

Caps/Plates/Washers: Minimum 1-inch (25.4 mm) diameter.

Fasteners: suitable for securing membrane to specified substrate and compatible with primary cladding material.

EXECUTION

EXAMINATION

Verify actual site conditions and location of adjacent materials prior to commencing work.

Verify substrate is sound, clean, dry, free of frost, loose nails, dirt, debris, or other contaminants that would adversely affect installation or performance of membrane.

Verify substrate is free of chemicals, surfactants, soaps, solvents, or other substances that could damage the membrane.

Notify Consultant in writing of any conditions which would be detrimental to installation. Commencement of work implies acceptance of previously completed work.

PREPARATION

Surface Preparation: Prepare substrate according to manufacturer’s written recommendations. Ensure substrate is free of sharp protrusions, voids, or irregularities that could damage membrane. Fill voids or depressions and repair damaged sheathing as required.

Penetrations and Openings: Seal all penetrations (pipes, conduits, ducts, etc.) and openings (windows, doors) through membrane using membrane in combination with manufacturer's recommended tapes, self-adhered membranes, and other compatible sealants and Products. Ensure all laps and details allow water to drain to exterior. Coordinate installation with window/door manufacturers’ and cladding system manufacturers’ approved Shop Drawings.

Membrane Application

Install UV-resistant vapour permeable [sheathing] [air barrier] membrane under primary water shedding cladding material, with smooth black (coated) side facing out. Lay membrane such that it forms a continuous membrane over entire wall area, allowing any water to drain down to flashings. Avoid blockages that would otherwise obstruct water flow.

Fasten using specified corrosion-resistant fasteners with integral caps or separate washers and plates. Mechanical fasteners must be set flush and fastened securely into solid backing. When fastening into non-structural sheathing boards, ensure fastener penetrates a stud or other solid backing.

Unroll membrane horizontally across wall, beginning at base of wall. Install successive layers in a shingling manner up wall, maintaining minimum 150 mm (6 inch) horizontal overlaps.

Extend membrane a minimum of 150 mm (6 inches) beyond corners and fasten to adjacent framing.

Fasten membrane along top and bottom of each roll within 50 mm (2 inches) of edge, at 300 mm (12 inches) on centre. Fasten in field of membrane at maximum 600 mm (2 feet) on centre. For delayed installation of cladding, increase fastener frequency as required for wind exposure.

SPEC NOTE: Keep the following paragraph if you want the membrane to act as an air barrier.

[Air Barrier Application: Tape all vertical and horizontal seams using manufacturer's specified UV seam seal tape to achieve a continuous air barrier. Do not place vertical laps directly above window or door openings.]

Ensure an air space of at least 6 mm (1/4 inch) is provided between outer surface of membrane and back of cladding panels to facilitate drying and drainage, as required by cladding system.

Install primary cladding system as soon as possible, in accordance with cladding system manufacturer's written instructions and Project Specifications, and in no event later than 120 Days after installation of membrane.

PROTECTION AND REPAIR

Protect UV-resistant vapour permeable wall [sheathing] [air barrier] membrane from damage, soiling and contaminating substances resulting from construction activities or caused by work of other trades.

Repair torn or damaged membrane as follows: Cut out damaged section. Insert a full piece of membrane, extending a minimum of 300 mm (12 inches) horizontally beyond damage and installed in a shingling fashion by underlapping higher courses and overlapping lower courses. Mechanically attach repair piece to substrate at top and bottom. Tape all seams of repair piece using manufacturer's specified 60mm (2.36 in) UV seam seal tape.

Promptly replace UV-resistant vapour permeable wall [sheathing] [air barrier] membrane work damaged during construction that cannot be satisfactorily repaired.

CLEANING AND WASTE MANAGEMENT

Cleaning: Maintain clean construction area at the end of each Day. When activities of this Section are complete, remove materials, tools, equipment and rubbish. Remove mud and similar marks with a water scrub; do not use soap or solvents. If chemicals have been spilled on membrane, remove and replace affected section.

Waste Management and Disposal: Sort waste for reuse, recycling, or disposal, as specified. Remove recycling bins and containers from site and dispose of contents at appropriate waste disposal facilities.

END OF SECTION