SRP AirOutshield Inc;

SRP AirOutshield™ WALL

Email: info@SRPAirOut.com

URL: www.srpairoutshield.com

SPEC NOTE: This is a manufacturer's guide specification intended to assist the design professional in preparing a Project specification. It must be edited to suit the specific Project requirements, local codes, and coordination with other specification sections. Bracketed text `[ ]` indicates a selection or an instruction for the specifier. Delete all guide notes and unused optional text before issuing the final Project specification.

This section specifies SRP AirOutshield™ WALL, a vapour permeable air barrier for rain screen wall systems. It functions as an air barrier, sheathing membrane, drainage plane, or sheathing membrane behind various wall cladding systems. This Product is not recommended for applications with long-term UV exposure (i.e., open joint cladding systems where the membrane will be continuously visible) or for use in roofing applications. For long-term UV exposure, refer to SRP AirOutshield™ UV.

This specification was developed with the assumption that it will be used with a CCDC standard Contract, as amended by any supplementary instructions. As a result, in keeping with CCDC standard definitions, some words have been capitalized. Please change defined terms and capitalization if this Specification will be used with another type of Contract.

SRP Air Outshield Inc. does not practice architecture or engineering. Therefore, the design responsibility remains with the architect, engineer, or Consultant. We hope the information given here will be of assistance. It is based upon data considered to be true and accurate and is offered solely for the user's consideration, investigation, and verification. Nothing contained herein is representative of a warranty or guarantee for which SRP Air Outshield Inc. can be held legally responsible. SRP Air Outshield Inc. does not assume any responsibility for any misinterpretation or assumptions the reader may formulate.

Revision date: July 2025

GENERAL

GENERAL INSTRUCTIONS

Read and conform to: The general provisions of the Contract, including General and Supplementary Conditions; and the requirements of Division 01 Specifications and any additional documents referred to in this Section.

Contractor is solely responsible for dividing The Work among Subcontractors and Suppliers. Consultant and Owner assume no responsibility to act as arbiters or to establish Subcontract limits between Sections or Divisions of The Work. Any references to related work items contained in this Section are provided for convenience only.

SUMMARY

SPEC NOTE: SRP AirOutshield™ WALL may function as either a sheathing membrane or an air barrier depending on installation method. When installed with untaped seams, it will act as a vapor-permeable sheathing membrane to shed liquid water while allowing wall assemblies to dry. When all joints, seams, and penetrations are sealed in accordance with the manufacturer’s instructions, it also functions as a continuous air barrier to control air leakage. Select the appropriate designation below (i.e. water-resistive barrier or air barrier) based on the project’s enclosure strategy and coordinate detailing accordingly.

Provide labour, materials, Products, equipment, and services to complete the vapour permeable [sheathing] [air barrier] membrane work specified herein. This includes, but is not necessarily limited, to:

Wall vapour permeable [sheathing] [air barrier] membrane.

Accessory tapes.

Fasteners.

SPEC NOTE: Select applicable accessories below. If these are specified in other sections, delete them form here.

[Wall ventilation mat.]

[Wall ventilation battens.]

Related Requirements: Specifications throughout all Divisions of the Project shall be read as a whole, and may be directly applicable to this Section. Related requirements provided below are for convenience purposes only:

Section 06 10 00 - Rough Carpentry: for wall sheathing and blocking.

SPEC NOTE: List all primary wall cladding system sections applicable to the project, e.g., Metal Wall Panels, Fiber Cement Siding, etc. Delete those not used.

Section 07 XX XX – Metal Wall Panels

Section 07 XX XX – Fiber Cement Siding

Section 07 21 00 – Thermal Insulation: for wall insulation.

Section 07 60 00 – Flashing and Sheet Metal: for wall flashing components.

REFERENCES

Reference Standards: Unless otherwise indicated in this Section or the Building Code, the latest published editions of reference standards as of the Project's Bid Closing deadline apply.

ASTM International (ASTM)

ASTM D882: Standard Test Method for Tensile Properties of Thin Plastic Sheeting.

ASTM D5034: Standard Test Method for Breaking Strength and Elongation of Textile Fabrics (Grab Test).

ASTM E96: Standard Test Methods for Gravimetric Determination of Water Vapour Transmission Rate of Materials.

ASTM E2178: Standard Test Method for Determining Air Leakage Rate and Calculation of Air Permeance of Building Materials.

Canadian General Standards Board (CGSB)

CAN/CGSB-51.32-M: Sheathing, Membrane, Breather Type.

ADMINISTRATIVE REQUIREMENTS

Pre-installation Meetings: Schedule and hold a pre-installation meeting at the Project site before beginning work on this Section to coordinate activities with related Subcontractors.

Notification: Where Consultant attendance is required; minimum 72 hour notice is required.

Reporting: Record significant discussions, agreements, and disagreements, including required corrective measures and actions.

Distribution: Distribute minutes of the meeting to each party present and to other parties requiring information not more than 72 hours after meeting.

SPEC NOTE Add other relevant trades if their work impacts the vapour permeable membrane.

Attendees: General Contractor, wall system Contractor, installer's foreman, and [representative of the vapour permeable membrane manufacturer].

SUBMITTALS

Submittals, generally: in accordance with Section 01 33 00, Submittal Procedures.

Product Data: Submit manufacturer’s Product characteristics, catalogue cuts, installation instructions, limitations, and other relevant information for each material and Product used for vapour permeable [sheathing] [air barrier] membrane work specified in this Section.

Shop Drawings: Submit Shop Drawings illustrating the general layout of the vapour permeable [sheathing] [air barrier] membrane. As a minimum indicate following:

Include plans, elevations, sections and details as applicable.

Indicate relationship and integration of vapour permeable [sheathing] [air barrier] membrane with key wall elements, including:

Wall edges and corners.

Window and door openings.

Pipe, conduit, duct, and other wall penetrations.

Coordination with primary cladding system flashings.

Samples: Submit selection and verification samples for vapour permeable [sheathing] [air barrier] membrane work.

As a minimum submit samples of the following:

215 x 280 mm (8-1/2 x 11 inch) sample of the vapour permeable [sheathing] [air barrier] membrane.

150 mm (6 inch) long samples of each specified tape.

QUALITY ASSURANCE

Manufacturer Qualifications: Provide Products for work of this Section by manufacturer with at least 10 years’ experience manufacturing such materials.

Installer Qualifications: Engage an entity with sufficient experience installing, erecting, or assembling work similar in material, design, and extent to that shown on Drawings and Schedules, and whose work has resulted in construction with a track record of successful in-service performance.

SPEC NOTE: Consider adding specific experience requirements or certifications if available through the manufacturer.

Installer shall have successfully completed at least [NUMBER] Projects of similar scope and complexity within the past [NUMBER] years.

Single Source Responsibility: Obtain primary materials for this Section from a single source by a single manufacturer, and secondary materials from sources recommended by manufacturers of primary materials.

First Installation Review: Construct a mock-up installation to verify selections made under submittals, demonstrate aesthetic effects, and to set quality standards for fabrication and installation.

SPEC NOTE: Specify size and location, e.g., approximately 4 ft x 4 ft (1.2m x 1.2m) at an inconspicuous area designated by Consultant, or on a separate panel. Incorporate typical wall conditions, including a window opening corner, a penetration, and an edge detail.

Location: [specify]. Incorporate typical wall conditions, including a window opening corner, a penetration, and an edge detail.

Purpose: To set benchmarks for installation and to judge subsequent work. Maintain such sample installations during construction in undisturbed condition.

Reviewed Sample Installations: May become part of the completed work if undisturbed at the time of Substantial Performance of The Work, provided they comply with requirements outlined in Contract Documents. Do not proceed with installation until mock-up is accepted by Consultant.

DELIVERY, STORAGE AND HANDLING

Product Requirements, generally: in accordance with Section 01 61 00, Common Product Requirements.

Deliver, store and handle vapour permeable [sheathing] [air barrier] membrane materials in accordance with manufacturer’s written instructions. Deliver materials to site in original factory packaging, labelled with manufacturer’s name and address.

Store rolls under cover, protected from direct sunlight, weather, and physical damage, on a clean, level surface, either flat or upright. Do not store materials in contact with substances harmful to membrane.

Replace defective or damaged materials with new.

FIELD CONDITIONS

Environmental Limitations: Do not Install membrane until substrates are dry, clean, and free of frost, and ambient and substrate temperatures are within manufacturer’s recommended range for installation.

UV Exposure Limit: Do not leave vapour permeable [sheathing] [air barrier] membrane exposed to ultraviolet light for more than 120 Days. Cover Product in accordance with manufacturer's instructions and general good building practice. This Product is not designed for continuous UV exposure.

PRODUCTS

MANUFACTURERS

Basis-of-Design: Materials specified in this Section are based on “SRP AirOutshield™ WALL” by SRP AirOutshield Inc., www.SRPairoutshield.com, Toll-Free: (866) 533-0233.

SPEC NOTE: Use the following statement if substitutions are not permitted.

OPTION 1

[Substitution Limitations: No further substitutions are acceptable.]

SPEC NOTE: Use following statement if substitutions are permitted subject to requirements of Division 01.

OPTION 2

[Substitution Limitations: Conforming to requirements of Section 01 25 00, Substitution Procedures and as follows:

Consultant will consider requests for substitution if received [10] Days before Bid Closing Deadline. Requests received after that time will be rejected. Consultant will consider requests for substitution when following conditions are satisfied:

Requests for substitution include a list of at least five similar Projects of equivalent size where Products have been installed for a minimum of five years.

Requested substitution does not require extensive revisions to the Contract Documents.

Requested substitution is consistent with the Contract Documents and will produce indicated results.

Requested substitution will not adversely affect construction schedule.

Requested substitution provides specified warranty.]

VAPOUR PERMEABLE [sheathing] [air barrier] membrane

Product Description: Triple layer, spun bonded polypropylene, vapour permeable [sheathing] [air barrier] membrane for rain screen wall systems, functioning as an air barrier, sheathing membrane, drainage plane, and sheathing membrane.

Product Characteristics:

Nominal Weight: 120 g/m².

Nominal Thickness: 0.58 mm.

Roll Size: 1.5 m wide x 50 m long (59” x 164’).

Gross Area per roll: 75 m² (807 ft²).

Colour: Orange (top, printed) and White (bottom).

Performance Characteristics:

Water Vapour Permeance (ASTM E96 – Procedure A, Desiccant Method): 4808 ng/Pa/s/m² (84 perms).

Air Permeance (ASTM E2178 per AC38): 0.0002 L/s·m² (0.00004 cfm/ft²) at 75 Pa.

Tensile Strength (ASTM D882):

Original: 4.79 N/mm.

UV and Heat Aged (ASTM G154): 4.34 N/mm.

Breaking Force (ASTM D5034):

Machine Direction (MD): 345 N.

Cross Direction (CD): 252 N.

Low Temperature Flexibility (AC38): Pass.

Ultraviolet Exposure (AC38): Pass (for limited exposure).

Accelerated Aging (AC38): Pass.

Water Ponding (CCMC 07 25 10.03-2011 / AC38): No leakage – Pass.

Self-cinching at Fasteners: Minimizes penetration point leaks.

Compliance: Exceeds requirements of the following standards and listings:

CAN/CGSB-51.32-M.

CCMC Technical Guide 07 25 10.03 [CCMC 13549-R]

Acceptable Product: “SRP AirOutshield™ WALL” by SRP AirOutshield Inc.

AUXILIARY MATERIALS

Tapes: Manufacturer’s recommended UV-resistant tapes for sealing seams and penetrations as follows:

SRP 60 UV Seam Seal Tape (60mm x 25m / 2.4” x 81’).

SRP 100 UV Seam Seal Tape (100mm x 25m / 4” x 81’).

Fasteners: Corrosion-resistant steel or stainless steel fasteners with integral caps or separate washers and plates.

Nails: Minimum No. 12-gauge (2.77 mm) shank diameter, 3/8-inch (9.5 mm) minimum head diameter.

Screws: Minimum No. 14-gauge (2.11 mm) shank diameter.

Caps/Plates/Washers: Minimum 1-inch (25.4 mm) diameter.

Fasteners: suitable for securing membrane to specified substrate and compatible with primary cladding material.

Ventilation System:

SPEC NOTE: Specify if a ventilation mat or battens are required for the wall system as a design requirement. If using battens, specify material, size, and fastening. If using a proprietary ventilation mat, specify manufacturer and Product name.

OPTION 1

[Proprietary Ventilation Mat: Non-woven nylon drainage and ventilation mat designed for wall applications.

Basis-of-Design: [Manufacturer, Product Name]]

OPTION 2

[Wood Battens: [SPECIFY WOOD SPECIES, DIMENSIONS, AND TREATMENT] battens, treated for exterior use, installed to create a continuous ventilation and drainage space. Coordinate with Section 06 10 00, Rough Carpentry.]

EXECUTION

EXAMINATION

Verify actual site conditions and location of adjacent materials prior to commencing work.

Verify substrate is sound, clean, dry, free of frost, and free of loose nails, dirt, debris, or other contaminants that would adversely affect installation or performance of vapour permeable [sheathing] [air barrier] membrane.

Verify substrate is free of chemicals, surfactants, soaps, solvents, or other substances that could damage membrane.

Notify Consultant in writing of any conditions which would be detrimental to installation. Commencement of work implies acceptance of previously completed work.

PREPARATION

Surface Preparation: Prepare substrate according to manufacturer’s written recommendations. Ensure substrate is free of sharp protrusions, voids, or irregularities that could damage membrane. Fill voids or depressions and repair damaged sheathing as required.

Penetrations and Openings: Seal all penetrations (pipes, conduits, ducts, etc.) and openings (windows, doors) through vapour permeable [sheathing] [air barrier] membrane using membrane in combination with manufacturer's recommended tapes, self-adhered membranes, and other compatible sealants and Products as recommended by manufacturer. Ensure all laps and details allow water to drain to exterior. Coordinate installation with window or door manufacturers’ and cladding system manufacturers’ approved Shop Drawings.

Pipes and Conduits: Install manufactured penetration sleeves or pre-fabricated flashing boots, or create a membrane skirt. Cut a piece of membrane to act as a skirt around penetration, extending a minimum 300mm (12 inches) beyond penetration. Make four cuts to form a star shape and place over penetration snugly. Extend “ears” of material along vertical penetration and seal with manufacturer's specified 100mm (4 inch) UV tape. Tape top edge of skirt to wall using manufacturer's specified 60mm UV tape. Do not tape bottom edge of skirt at this time.

Window and Door Openings (Prior to Installation of Openings):

Install membrane over entire wall and openings in a shingling manner.

Cut membrane horizontally along head of opening. At top corners, make a diagonal cut approx. 150mm (6 inch) long to create a flap. Fold this flap upwards and secure temporarily with tape.

Cut membrane down middle of opening approximately 2/3 of the way down and tie this cut into each of the lower corners on a diagonal.

Fold membrane into opening, fasten, and trim off excess.

Install manufacturer’s recommended self-adhered flashing as a flashing over base of opening, extending up vertical sides at least 50mm (2 inches) and over installed membrane. Ensure widths are installed in a shingling manner if multiple are needed.

Install window or door in accordance with its manufacturer’s instructions.

Starting with sides, seal membrane to window or door flange using manufacturer's specified 60mm or 100mm UV tape. Overlap sill flashing by at least 50mm (2 inches).

At top of opening, apply a head flashing directly over sheathing and onto frame of window or door to ensure drainage to exterior. Cover this with membrane flap installed previously.

Tape all seams around opening using manufacturer's specified 60mm or 100mm UV tape.

Window and Door Openings (Openings Already Installed):

Ensure window or door installers have adequately flashed opening (e.g., with pan flashing and jamb flashings wrapped into opening, and an apron piece at sill).

Place a piece of membrane below window or door and apply apron piece over it in shingle style.

Install membrane over wall and window or door in shingle style.

Carefully cut membrane around window or door, avoiding cutting the window or door flange or existing membrane around the opening.

Tape the membrane to the window or door using manufacturer's specified 60mm UV tape.

Application

Installation, generally: Install work of this Section in strict accordance with manufacturer's written installation instructions and reviewed Shop Drawings. Supplement manufacturer's installation instructions with additional installation requirements specified in this Section to produce specified work results.

Install vapour permeable air barrier membrane under primary water shedding cladding material, with printed (orange) side facing out. Lay membrane such that it forms a continuous membrane over entire wall area, allowing any water to drain down to flashings. Avoid blockages that would otherwise obstruct water flow.

Fasten using specified corrosion-resistant fasteners with integral caps or separate washers and plates. Mechanical fasteners must be set flush and fastened securely into solid backing. The membrane's self-cinching properties at fasteners help minimize penetration point leaks. When fastening into non-structural sheathing boards, ensure fastener penetrates a stud or other solid backing.

Unroll membrane horizontally across wall, beginning at base of wall. Extend 150 mm (6 inches) over starting corner. Install successive layers in a shingling manner up wall, maintaining minimum 150 mm (6 inch) horizontal overlaps.

For vertical installation, overlap vertical seams a minimum of 150 mm (6 inches) and tape all vertical seams. Do not place vertical laps directly above window or door openings.

Fasten membrane along top and bottom of each roll within 50 mm (2 inches) of edge, at 300 mm (12 inches) on centre. Fasten in field of membrane at maximum 600 mm (2 feet) on centre. For delayed installation of cladding or for specific wind exposure requirements, increase fastener frequency as indicated in Project Specifications or manufacturer's instructions, using cap nails or screws with washers.

SPEC NOTE: Use the following paragraph if it is necessary to achieve air tightness.

[Air Barrier Application: To achieve a continuous air barrier, tape all vertical and horizontal seams, and all terminations to adjacent construction, using manufacturer's specified 60mm UV seam seal tape or 100mm UV seam seal tape. Connect to flashings and air barriers in adjacent areas as installed by others.]

SPEC NOTE: If a ventilation mat or battens are required, keep this paragraph.

Ventilation System: Install ventilation system over vapour permeable [sheathing] [air barrier] membrane in accordance with manufacturer’s instructions and Project requirements to form a positive drainage and ventilation space behind primary cladding material.

Install primary cladding system as soon as possible, in accordance with cladding system manufacturer's written instructions and the Contract Documents, and in no event later than 120 Days after installation of vapour permeable [sheathing] [air barrier] membrane.

PROTECTION AND REPAIR

Protect vapour permeable [sheathing] [air barrier] membrane from damage, soiling and contaminating substances (including chemicals, surfactants, soaps, and solvents) resulting from construction activities or caused by work of other trades.

Repair torn or damaged vapour permeable [sheathing] [air barrier] membrane as follows: Cut out damaged section. Insert a full piece of vapour permeable [sheathing] [air barrier] membrane, extending a minimum of 300 mm (12 inches) horizontally beyond damage and installed in a shingling fashion (underlapping higher courses and overlapping lower courses). Mechanically attach repair piece to substrate at top and bottom. Tape all seams of repair piece using manufacturer's specified 60mm (2.36 in) UV seam seal tape.

Promptly replace vapour permeable [sheathing] [air barrier] membrane work damaged during construction that cannot be satisfactorily repaired.

CLEANING AND WASTE MANAGEMENT

Cleaning: Maintain clean construction area at end of each Day. When activities of this Section are complete, remove materials, tools, equipment and rubbish. Remove mud and similar marks with a water scrub; do not use soap or solvents. If chemicals have been spilled on vapour permeable [sheathing] [air barrier] membrane, remove and replace affected section.

Waste Management and Disposal: Sort waste for reuse, recycling, or disposal, as specified. Remove recycling bins and containers from site and dispose of contents at appropriate waste disposal facilities.

END OF SECTION